## Worksheet 1
Imaging system/camera | VNIR-1600
Detector technology | Si CCD
Spectral range | 416–992 nm
Spectral sampling interval | 3.6 nm
Spectral bandwidth | 3.5 nm
Pixel size (microscope lens) | 24 µm
Field of view | ∼ 17∘
Pixel/line (across track) | 1600
Channels | 160
Radiometric quantization | 12 bit
Max frame rate | 135 Hz
Detector temperature | Ambient
Integration time | 70 000
High SNR mode | 6
Acquisition time | ∼ 60 min
Processing/classification and mapping time | ∼ 30 min